|  | Pre-and-Post Job Inspection Checklist |
| --- | --- |
| Contractor: |  | Site Supervisor: |  |
| Job / Location: |  | Date and Times: |  |
| Work Order No.: |  |  |  |
| This form must be completed before starting, and after finishing work at any U of T job site. Send Copies to – Contractor, U of T Project/Property Manager or Person-in-charge, U of T File |
| PRE-JOB CHECKLIST |
| □ | All personnel have signed in and obtained badges | □ | Fire watch provided for if necessary |
| □ | Access by public and visitors is controlled or restricted | □ | Notification provided to owner’s site representative prior to: |
| □ | Material Safety Data Sheets on site |  | □ Hot Work |
| □ | Need for lock-out, blanking or other system shut-downs has been determined and procedures are understood |  | □ Electrical Shut-Downs / Lock-Outs |
|  |  |  | □ Fire System Shut-Down |
|  |  |  | □ Use of Hazardous Substances |
| □ | All workers advised of allowable work areas, access points, washroom facilities, travel paths | □ | Appropriate personal protective equipment available for all workers |
| □ | All workers know UTSC and site emergency codes and responses | □ | Confirmed that no asbestos will be removed / disturbed |
|  |  | □ | Confirmed that the work will not disperse lead paint dusts |
| □ |  | □ |  |
| POST-JOB CHECKLIST |
| □ | All hazardous materials removed from site | □ | Locked-out systems / equipment restored to original status |
| □ | All tools, equipment and wastes removed from site | □ | All signs, barriers, access restricting devices been removed |
| □ | Area left in a clean condition | □ | All personnel have signed out and returned badges |
| □ |  | □ |  |

|  | Pre-and-Post Job Inspection Checklist |
| --- | --- |
| Contractor: |  | Site Supervisor: |  |
| Job / Location: |  | Date and Times: |  |
| Work Order No.: |  |  |  |
| This form must be completed before starting, and after finishing work at any UTSC job site. White Copy – Contractor, U of T Project/Property Manager, or Person-in-charge, U of T File |
| PRE-JOB CHECKLIST |
| □ | All personnel have signed in and obtained badges | □ | Fire watch provided for if necessary |
| □ | Access by public and visitors is controlled or restricted | □ | Notification provided to owner’s site representative prior to: |
| □ | Material Safety Data Sheets on site |  | □ Hot Work |
| □ | Need for lock-out, blanking or other system shut-downs has been determined and procedures are understood |  | □ Electrical Shut-Downs / Lock-Outs |
|  |  |  | □ Fire System Shut-Down |
|  |  |  | □ Use of Hazardous Substances |
| □ | All workers advised of allowable work areas, access points, washroom facilities, travel paths | □ | Appropriate personal protective equipment available for all workers |
| □ | All workers know UTSC and site emergency codes and responses | □ | Confirmed that no asbestos will be removed / disturbed |
|  |  | □ | Confirmed that the work will not disperse lead paint dusts |
| □ |  | □ |  |
| POST-JOB CHECKLIST |
| □ | All hazardous materials removed from site | □ | Locked-out systems / equipment restored to original status |
| □ | All tools, equipment and wastes removed from site | □ | All signs, barriers, access restricting devices been removed |
| □ | Area left in a clean condition | □ | All personnel have signed out and returned badges |
| □ |  | □ |  |