|  | Pre-Job Hazard Assessment Form |
| --- | --- |
| Job Description: |  |
| Location: |  |
| Expected Start Date: |  | Expected Duration: |  |
| U of T File No.: |  | U of T Project Manager: |  |
| Assessment By: |  | Date Prepared: |  |
| Page 1 of 1 |
| Important Notice: This hazard assessment has been prepared by U of T for its own project planning purposes, and to inform service providers of actual and potential hazards that may be encountered in performance of the work. U of T does not warrant the completeness or adequacy of this hazard assessment for the project, and the paramount responsibility for project hazard assessment rests with the service provider. |
| COULD THE JOB RESULT IN: | YES | NO | NECESSARY PROTECTIVE MEASURES |
| Blocking or obstructing exits or routes of egress |  |  |  |
| Impeding evacuation of the building |  |  |  |
| Disabling of any fire sensor, alarm, or suppression system (e.g. sprinkler heads, standpipes, etc.) |  |  |  |
| Impeding access to any fire protection systems or equipment |  |  |  |
| Permanent relocation of any fire system elements |  |  |  |
| Propping doors open |  |  |  |
| Use of fire or ignition sources (e.g. welding, propane torch, grinding, tar pots, kettles, open flame) |  |  |  |
| Mechanical rooms or service areas will be insecure / open during the work (e.g. boiler rooms, elevator room, penthouse, sprinkler room, etc.) |  |  |  |
| Excavation, trench digging or drilling |  |  |  |
| Disturbance of insulation, plaster, vinyl tile or other materials that could contain asbestos |  |  | If “yes”, pre-project asbestos survey report is required. Work to be performed in accordance with asbestos regulatory requirements. |
| Generation of significant amounts of dust from sanding or demolition of surfaces that may contain lead-based paint |  |  | If “yes”, pre-project lead survey report is required. Work to be performed in accordance with Ministry of Labour Guideline for Lead on Construction Projects. |
| Abatement of building materials or contents having significant mould contamination |  |  | If “yes”, perform work in accordance with a recognized mould abatement guideline. |
| Generation of airborne pollutants that may harm persons or result in objectionable odours |  |  |  |
| Exposure of building features to possible water / rain / snow damage |  |  |  |
| Impact on natural gas services, sewage lines, or electrical services |  |  |  |
| Lock-out of live electrical or mechanical systems |  |  |  |
| Use of fall arrest equipment / work at heights |  |  |  |
| Tying off to roof anchors |  |  |  |
| Requirement to file Notice of Project with Ministry of Labour |  |  |  |
| Service Provider Acknowledgement: We confirm receipt and review of this Pre-Job Hazard Assessment and acknowledge our responsibility for taking all necessary protective measures (which may exceed those cited herein) for performance of the job. |
| Service Provider Name: |  |
| Signatory for Service Provider: |  | Date Signed: |  |